Unit 1 – Introduction

Lesson 1 – Lab Safety

Learning Outcomes

- I can describe the location and use of all of the safety equipment in the science classroom.

- I can describe how to act safely in the science classroom.

Behaviour

- Listen to or read instructions carefully before attempting to do anything.

- Notify your teacher if any spills or accidents occur.

- After handling chemicals always wash your hands with soap and water.

- During lab work, keep your hands away from your face.

- Tie back long hair.

- Take off baggy clothing and roll up loose sleeves.

- Keep your work area uncluttered.  Take to the lab station only what is necessary.

- Never put anything into your mouth during a lab experiment.

- Clean up your lab area at the conclusion of the laboratory period.

- Never “horse around” or play practical jokes in the laboratory.

Eye Safety

- always wear safety glasses or goggles during lab activities

- prescription glasses are not safety glasses

- if an eye splash does occur, flush out the eye with an eye wash for a minimum of 15 minutes or until the eye feels better

- caustics (bases) are worse than acids because tears are slightly basic already and will help to neutralize an acid

Fire Safety

- 3 requirements for any fire – fuel, oxygen and heat

- called the fire triangle

- sand bucket – used to smother small fires

- fire blanket – used to smother clothing that is on fire

- fire extinguisher – used to extinguish large fires

- to use:

- P – pull pin

- A – aim at base of fire

- S – squeeze handle

- S – sweep back and forth

- extinguisher type matches the fuel source

| Class & Name | Example of Fuel | Contents |
| --- | --- | --- |
| A – Ordinary Combustibles | wood, paper, fabrics | water |
| B – Flammable Liquids | gasoline, grease, oils, paints | dry chemical or foam |
| C – Electrical | electrical appliances | CO2 or dry chemical |
| D – Combustible Metals | magnesium, lithium, potassium | dry powder – specific to metal |

- higher level extinguisher can be used on a lower level fire

- ABC (multiclass) extinguishers are the most common type

- gas shut off valve – turn off if fire during a lab using gas

Acid/Base Spills

- used to neutralize an acid or base spill before cleaning it up

- add the opposite until the spill is neutralized (test with pH indicator)

Fume Hood

- used to vent out noxious smelling fumes

Sharps Bucket

- dispose of all sharps such as broken glass and scalpel blades